## All
no | Building | Room | Type | Make | Model | Serial # | Catalog # | Current | Capacity | Footprint | Notes
1 | Sinsheimer | 243 | freezer (-20˚) | Sears | 198.719.1510 | P92892982 |  | 4.4 amps | 28 X 43 | chest
2 | Sinsheimer | 243 | combo | GE | GTS18FBMDRWW | SD768327 |  | 6.5 amps |  | upright
3 | Sinsheimer | 243 | ultra low (-80˚) | Fisher | C9-14A34 | Z065-245585-ZW |  | 16 amps | 30 X 72 | chest
4 | Sinsheimer | 241a | glass cab | Kendro | REC4504A20 | W10P-117076-WP |  | 19 amps
| Sinsheimer | 241 | ultra low (-80˚) | Revco | ULT1790-9-A30 | R23J-432562-RJ |  | 16 amps | 30 X 84 | chest
| Sinsheimer | 241 | combo | VWR | [6 empty] | standard
| Sinsheimer | 241 | combo | Kenmore | [6 empty] | side by side
| Sinsheimer | 239a | freezer (-20˚) | Revco | U2020GABA | U18D-169393-UD |  | 4 amps |  | upright | standard
| Sinsheimer | 237a | combo | Sears | 253.63732304 | BA41405236 |  | 4.5 amps |  | upright | standard
| Sinsheimer | 237a | combo | Revco | R415GABA | U21D-169715-UD |  | 2.8 amps |  | upright | standard
| Sinsheimer | 237a | glass cab | Biocold Sci | BC-47CR | 7063707659N
| Sinsheimer | 237 | ultra low (-80˚) | Revco | ULT2090-5-A31 | 023P-276829-PP |  | 16 amps | 30 X 94 | chest
| Sinsheimer | 236 | food fridge | Sanyo |  |  |  |  | 1/2 size | upright
| Sinsheimer | 236 | freezer (-20˚) | Kenmore | [5 empty] | upright | standard
| Sinsheimer | 236 | combo | Sears | 25369804891 | BA82422543 |  | 4.7 amps |  | upright
| Sinsheimer | 236 | glass cab | True Manu | GDM-49 | 1-2173983 |  | 10.6 amps
| Sinsheimer | 233 | combo | Kenmore | 106-39432990 | VSK0674734 |  | 6.5 amps |  | upright | not in use
| Sinsheimer | 233 | freezer (-20˚) | Sears | 253.29201000 | WB.2806084 |  | 5 amps |  | upright | not in use
| Sinsheimer | 204 | freezer (-20˚) | Kenmore | 253.14092101 | WB44434630 |  | 5 amps | 28 X 61 | chest
| Sinsheimer | 206a | food fridge | Danby |  |  |  |  | 1/2 size | upright
| Sinsheimer | 206 | ultra low (-80˚) | Revco | ULT2186-9-A34 | O01L-515569-OL |  | 16 amps |  | upright
| Sinsheimer | 206 | freezer (-20˚) | Kenmore | 564.257002500 | 060205350 |  | 1.3 amps | 3/4 size | upright
| Sinsheimer | 206 | ultra low (-80˚) | Revco | ULT1786-9-A39 | W14P-218343-WP |  | 16 amps |  | upright
| Sinsheimer | 206 | freezer (-20˚) | Kenmore | 253.240.42102 | WB60328612 |  | 5 amps |  | upright
| Sinsheimer | 206 | freezer (-20˚) | Kenmore | 253.60722000 | WA60100348 |  | 5 amps |  | upright
| Sinsheimer | 212 | ultra low (-80˚) | Revco | ULT1490-5-A33 | P16R-229397-PR |  | 16 amps | 30 X 72 | chest
| Sinsheimer | 212 | ultra low (-80˚) | Revco | ULT1490-5-A32 | Y11P-219931-YP |  | 16 amps | 30 X 72 | chest
| Sinsheimer | 212a | combo | Electrolux | FRT18KC3BW2 | BA24029631 |  | 4.5 amps |  | upright | standard
| Sinsheimer | 212a | glass cab | Revco | CC504 | PZ10518-2 |  | 16 amps |  |  | not in use
| Sinsheimer | 212a | freezer (-20˚) | Sears | 253.12551100 | WB24023984 |  | 5 amps | 28 X 73 | chest
| Sinsheimer | 212a | combo | Electrolux | FRT18KC3BW2 | BA24029603 |  | 4.5 amps |  | upright | standard *old
| Sinsheimer | 144 | ultra low (-80˚) | [6 empty] | upright | rental, reparing old unit
| Sinsheimer | 144 | combo | Sears | 253.67182508 | 4A72608420 |  | 4.5 amps |  | upright | standard
| Sinsheimer | 144a | freezer (-20˚) | Sears | 253.26072100 | WB64540704 |  | 5 amps |  | upright
| Sinsheimer | 104 | food fridge | Sanyo |  |  |  |  | 1/2 size
| Sinsheimer | 117a | glass cab | Beverage-Air | MT45 | 2206764 |  | 10.5 amps
| Sinsheimer | 119 | freezer (-20˚) | Kenmore | 20203
| Sinsheimer | 119 | combo | Sears | 253.65802508 | BA64816805 |  | 4.5 amps |  | upright
| Sinsheimer | 119 | food fridge | [5 empty] | 1/2 size | upright | Energy Star
| Sinsheimer | 219 | freezer (-20˚) | Kenmore | 253.60722001 | WA74800076 |  | 5 amps |  | upright | 4˚
| Sinsheimer | 217 | freezer (-20˚) | Sears | 253.16932100 | WB71431831 |  | 5 amps | 22 X 41 | chest
| Sinsheimer | 217 | freezer (-20˚) | GE | FUF20DPJRWH | LL167492 |  | 5 amps |  | upright
| Sinsheimer | 217 | refrigerator (4˚) | Sears | 253.60721008 | WA21000294 |  | 5 amps |  | upright
| Sinsheimer | 217 | glass cab | Biocold Sci | BC-473R | 110749354784 |  | 10.6 amps
| Sinsheimer | 312 | ultra low (-80˚) | Revco | ULT1790-5-D31 | V230-271855-W0 |  | 12 amps/ 208 volts | 30 X 84 | chest
| Sinsheimer | 312 | food fridge | [5 empty] | 1/2 size | upright | combo
| Sinsheimer | 312a | freezer (-20˚) | Whirlpool | EAV12DW1 | 653873245 |  | 4 amps | 3/4 size | upright
| Sinsheimer | 312a | freezer (-20˚) | Kenmore | 253.9157110 | S503082174 |  | 5 amps | 22 X 35 | chest
| Sinsheimer | 312a | freezer (-20˚) | Kenmore | [5 empty] | upright
| Sinsheimer | 312a | glass cab | Fisher
| Sinsheimer | 312a | combo | Fisher |  |  | 13-986-111 | 2.1 amps |  | upright | Flamable
| Sinsheimer | 314 | glass cab | Frigidaire | 176G-2 | 34443557 |  | 16 amps | 1 1/2 size
| Sinsheimer | 314 | ultra low (-80˚) | Kelvinator | UC1370-A31 | Y25N204578-ZN |  | 16 amps | 72 X 30
| Sinsheimer | 317a | freezer (-20˚) | Sears | 253.9108180 | S107175329 |  | 5 amps | 22 X 35 | chest | color: beige
| Sinsheimer | 317a | freezer (-20˚) | Sears | 253.11711102 | WB20118574 |  | 5 amps | 22 X 35 | chest | color: white
| Sinsheimer | 317a | combo | Philco | [6 empty] | Flamable, can be replaced w/ non-flam
| Sinsheimer | 317a | ultra low (-80˚) | Revco | ULT1090-9-834 | 0124955201080415 |  | 16 amps | 30 X 60 | chest | new
| Sinsheimer | 317a | ultra low (-80˚) | Revco | ULT1090-9-831 | R08M-576821-RM |  | 16 amps | 30 X 60 | chest | old
| Sinsheimer | 317a | refrigerator (4˚) | Kenmore | 253.60722000 | WA64500905 |  | 5 amps |  | upright
| Sinsheimer | 306 | glass cab | Fisher |  | 008N0092 | 13-986-233G | 10.5 amps
| Sinsheimer | 306 | freezer (-20˚) | Kenmore | [5 empty] | upright | Alarm
| Sinsheimer | 306 | combo | Sears | 106.9638310 | EC2241105 |  | 6.5 amps |  | upright
| Sinsheimer | 306 | freezer (-20˚) | Kenmore | 253.9115010 | S110302087 |  | 5 amps | 22 X 25 | chest | 1/2 size
| Sinsheimer | 309 | combo | Whirlpool | ET21DMXDW02 | EE4929914 |  | 6.5 amps |  | upright
| Sinsheimer | 311 | refrigerator (4˚) | Westinghouse |  |  |  |  | 1/2 size |  | lab fridge
| Sinsheimer | 311b | freezer (-20˚) | Kenmore | [5 empty] | chest | can't access plate
| Sinsheimer | 344 | ultra low (-80˚) | Forma | 983 | 62231-207 |  | 12 amps/ 208 volts |  | upright
| Sinsheimer | 344 | ultra low (-80˚) | Revco | ULT2090-7-D14 | V05H-394973-VH |  | 11.2 amps | 30 X 96 | chest
| Sinsheimer | 344a | combo | GE | CTA15CLBR | SD745446 |  | 3.2 amps |  | upright | Flamable
| Sinsheimer | 344a | freezer (-20˚) | Kenmore | 253.9185112 | WB03424222 |  | 5 amps | 1/2 size | chest
| Sinsheimer | 344a | refrigerator (4˚) | Electrolux | FRU17B2JW8 | WA42301011 |  | 5 amps |  | upright
| Sinsheimer | 342 | food fridge | Kenmore |  |  |  |  | 1/2 size | upright
| Sinsheimer | 337a | freezer (-20˚) | Sears |  |  |  |  | 22 X 42 | chest | frosty, can't read plate
| Sinsheimer | 337a | freezer (-20˚) | Kenmore | 253.9187110 | WB93820348 |  | 5 amps | 22 X 35 | chest
| Sinsheimer | 337a | freezer (-20˚) | Kenmore | 106.8265981 | E70416525 |  | 4 amps |  | upright
| Sinsheimer | 337 | ultra low (-80˚) | Harris | ELT-17V-85D14 | P14G-330445-PG |  | 7.5 amps/ 208 volts |  | upright
| Sinsheimer | 337 | freezer (-20˚) | Kenmore | 253.16922100 | WB65204973 |  | 5 amps | 22 X 41 | chest
| Sinsheimer | 337 | food fridge | Kenmore |  |  |  |  | 1/2 size | upright
| Sinsheimer | 338 | food fridge | Kenmore |  |  |  |  | 1/2 size | upright | lab fridge
| Sinsheimer | 330 | food fridge | GE |  |  |  |  | full size | upright | food, combo
| Sinsheimer | 330 | freezer (-20˚) | GE | FUM21DTBRWH | RM164987 |  | 5 amps |  | upright
| Sinsheimer | 330 | glass cab | True Manu | GDM-47 | 1-4516788 |  | 10.6 amps
| Sinsheimer | 329 | combo | Roper | RT20CKXAW01 | ED0230195 |  | 6.5 amps |  | upright
| Sinsheimer | 329 | freezer (-20˚) | GE | FUM21DTBRWH | VM1660847 |  | 5 amps |  | upright
| Sinsheimer | 329 | glass cab | VWR | GDM-47 | 1-4842502 |  | 10.6 amps
| Sinsheimer | 406 | combo | Kenmore | 253.6419240A | 4A64108708 |  | 4.5 amps |  | upright
| Sinsheimer | 406 | combo | Kenmore | 106.61182101 | EM4213327 |  | 6.5 amps |  | upright
| Sinsheimer | 406 | combo | GE | TDM18JAXHRWW | VR570252 |  | 7 amps |  | upright
| Sinsheimer | 406 | freezer (-20˚) | Kenmore | [6 empty] | can't access plate
| Sinsheimer | 409 | glass cab | Kelvinator | BB5CRGCH-3 | C1268315 |  | 13.5 amps
| Sinsheimer | 409 | refrigerator (4˚) | Fisher |  | 301N0006 | 13-986-152 | 5 amps |  | upright
| Sinsheimer | 409 | freezer (-20˚) | Whirlpool | EEV202XW1 | S73402605 |  | 5 amps |  | upright
| Sinsheimer | 409 | glass cab | Biocold Sci | BC26LR | 4913172088M |  |  | 1/2 size |  | amps not given
| Sinsheimer | 409 | glass cab | Biocold Sci | BC26LR | 4913172087M |  |  | 1/2 size |  | amps not given
| Sinsheimer | 409 | glass cab | Beverage-Air | MT45 | 6654657 |  | 10.5 amps | full size
| Sinsheimer | 409 | combo | Kenmore | 363.9450487 | L63510279 |  | 777KWH/yr |  | upright | side by side
| Sinsheimer | 412 | glass cab | Beverage-Air | MT45 | 6752129 |  | 10.5 amps
| Sinsheimer | 412 | freezer (-20˚) | Kenmore | 253.16552101 | WB74644579 |  | 5 amps | 28 X 48 | chest
| Sinsheimer | 412 | combo | Kenmore | 105.41212100 | SM1241333 |  | 6.5 amps |  | upright | side by side, cold spot
| Sinsheimer | 412 | combo | Kenmore | 106.41212101 | SP0545253 |  | 6.5 amps |  | upright | side by side, cold spot
| Sinsheimer | 412 | freezer (-20˚) | Kenmore | 253.11531101 | WB21414709 |  | 5 amps | 28 X 48 | chest
| Sinsheimer | 412 | combo | Kenmore | 106.41212101 | SP0545238 |  | 6.5 amps |  | upright | side by side
| Sinsheimer | 414 | freezer (-20˚) | Kenmore | 564.28502700 | 070705058 |  | 1.1 amps | 1/2 size | upright
| Sinsheimer | 414 | ultra low (-80˚) | Kelvinator | UC1370-A31 | P20M-574222-4M |  | 16 amps | 30 X 72 | chest
| Sinsheimer | 414 | ultra low (-80˚) | Kelvinator | UC1370-A33 | X11R-234682-XR |  | 16 amps
| Sinsheimer | 414 | food fridge | Kenmore |  |  |  |  | 1/2 size | upright
| Sinsheimer | 419 | refrigerator (4˚) | Kenmore | 564.9935610 | 940709894 |  | 1.4 amps | 1/2 size | upright
| Sinsheimer | 419 | glass cab | Frigidaire | 348G-2 | 42152476 |  | 6 amps
| Sinsheimer | 417 | ultra low (-80˚) | Forma | 8200 | 60315-30 |  | 11.5 amps |  | upright | old
| Sinsheimer | 417 | ultra low (-80˚) | Kelvinator | UC1370-A31 | T11M-586109-TM |  | 16 amps | 30 X 72 | chest
| Sinsheimer | 419 | freezer (-20˚) | Frigidaire | FFC07K0AW2 | WB20931746 |  | 5 amps | 22 X 35 | chest
| Sinsheimer | 419 | freezer (-20˚) | Kenmore | 253.9237382 | S404102586 |  | 5 amps |  | upright
| Sinsheimer | 419 | freezer (-20˚) | Electrolux | FFU20FK0DW4 | WB53933843 |  | 5 amps |  | upright
| Sinsheimer | 419 | ultra low (-80˚) | Fisher/Revco | I821UD35 | 022M570611-PM |  | 10 amps/ 208 volts |  | upright
| Sinsheimer | 444a | freezer (-20˚) | Kenmore | 253.9232283 | S401034446 |  | 5 amps |  | upright
| Sinsheimer | 442a | combo | Frigidaire | [5 empty] | upright | side by side, no plate
| Sinsheimer | 442 | combo | Kenmore | 106.8611610 | S13621897 |  | 6.5 amps |  | upright | side by side, off
| Sinsheimer | 442 | combo | Whirlpool | EE2133DTWR0 | E93611948 |  | 3.5 amps |  | upright | Flamable
| Sinsheimer | 442 | ultra low (-80˚) | Revco | ULT1490-5-ABA | Y10C-150981-YC |  | 15.2 amps | 30 X 72 | chest
| Sinsheimer | 442b | ultra low (-80˚) | Fisher | I817CD31 | S20N-635200-7N |  | 12 amps/ 208 volts | 30 X 84 | chest
| Sinsheimer | 442b | ultra low (-80˚) | Kelvinator | UC1370-A14 | S25J-437002-TJ |  | 16 amps | 30 X 72 | chest
| Sinsheimer | 442b | freezer (-20˚) | Woods |  |  |  |  | 24 X 24 | chest | 1/2 size
| Sinsheimer | 437 | combo | Kenmore | 363.58042891 | 82930330 |  | 7 amps |  | upright | side by side
| Sinsheimer | 437 | refrigerator (4˚) | Kelvinator | [5 empty] | upright | Flamable, old
| Sinsheimer | 437 | food fridge | Kenmore |  |  |  |  | 1/2 size | upright
| Sinsheimer | 437 | freezer (-20˚) | Kenmore | 253.9262010 | S603081107 |  | 5 amps |  | upright
| Sinsheimer | 437 | combo | Whirlpool | EAT14DTWR0 | S50890895 |  | 4 amps |  | upright | old
| Sinsheimer | 437 | ultra low (-80˚) | Revco | ULT2586-9-D35 | 005M-567851-0M |  | 10 amps/ 208 volts |  | upright
| Sinsheimer | 434 | food fridge | [5 empty] | 1/2 size | upright
| Sinsheimer | 434 | freezer (-20˚) | GE | FUM21DTARWH | VL164659 |  | 5 amps |  | upright
| Sinsheimer | 434 | freezer (-20˚) | Sears | 253.9155010 | S505182336 |  | 5 amps | 22 X 27 | chest
| Sinsheimer | 434 | combo | GE | GTS18FBSARWW | TL825840 |  | 6.5 amps |  | upright
| Sinsheimer | 434 | combo | Sears | 106.9630610 | EC1410231 |  | 6.5 amps |  | upright
| Sinsheimer | 431 | food fridge | [5 empty] | 1/2 size | upright
| Sinsheimer | 431 | freezer (-20˚) | Kenmore | 757.7293131 | 031099192 |  | 5.2 amps |  | upright
| Sinsheimer | 431 | freezer (-20˚) | Sears | 253.26072100 | WB63433182 |  | 5 amps |  | upright
| Sinsheimer | 429 | combo | Amana | TQ20NBW | 9005058058 |  | 6.5 amps |  | upright
| Sinsheimer | 429 | refrigerator (4˚) | Kenmore | 253.60722002 | WA80800358 |  | 5 amps |  | upright
| Sinsheimer | 429 | refrigerator (4˚) | Kenmore | 253.60722002 | WA80800372 |  | 5 amps |  | upright
| Greenhouse |  | food fridge | [5 empty] | 1/2 size | upright
| Earth&Marine | D305 | ultra low (-80˚) | Revco | ULT2186-9-834 | W25K-498886-XK |  | 16 amps |  | upright
| Earth&Marine | D305 | freezer (-20˚) | Fisher |  | 101N0015 | 13-986-149 | 5 amps |  | upright | Flamable
| Earth&Marine | D305 | ultra low (-80˚) | Revco | ULT2186-9-836 | P06N-624521-SN |  | 16 amps |  | upright
| Earth&Marine | D318 | combo | Kenmore | 564.93361100 | 031043446 |  | .9 amps | 1/2 size | upright
| Earth&Marine | D318 | freezer (-20˚) | Frigidaire | FFU09KCW0 | WB34541578 |  | 5 amps |  | upright
| Earth&Marine | D318 | food fridge | Gibson |  |  |  |  | full size | upright
| Earth&Marine | D324 | combo | Maytag | MTF2142MEW00 | EW0204346 |  | 6.5 amps |  | upright
| Earth&Marine | D331 | combo | Kenmore | 253.64532600 | BA75010946 |  | 4.5 amps |  | upright
| Earth&Marine | D330 | food fridge | Kenmore |  |  |  |  | 1/2 size | upright
| Earth&Marine | D330 | combo | Maytag | PTB21BBGRW | 16689192EG |  | 7.2 amps |  | upright
| Earth&Marine | D330 | combo | Whirlpool | EHT171PKNR4 | E0202F161 |  | 6.5 amps |  | upright
| Earth&Marine | D335 | freezer (-20˚) | Kenmore | 253.11821101 | WB22330096 |  | 5 amps | 54" | chest
| Earth&Marine | D335 | Glass cab | Fisher | 348G | [5 empty] | 2 Doors - No Plate
| Earth&Marine | D335 | -20 | Labline Dist. Gibbson | FV21M2WLFA | 926360695 |  | 43 amps |  |  | Flam
| Earth&Marine | D335 | -20 | Kenmore | [6 empty] | Radio/isotopstorage
| Earth&Marine | D335 | Combo | Westinghouse | [6 empty] | *Didn't Open
| Earth&Marine | D336 | Combo | Hotpoint | CTH16BYTCRWH | GL741536 |  | 6.5 amps |  | Upright
| Earth&Marine | D354 | Combo | Fisher | CAT 13-986-111 | 207N0162 |  | 2.1 amps |  | 3/4 Size upright | Flam
| Earth&Marine | D360 | Combo | Fisher | [5 empty] | 3/4 size upright | Flam
| Earth&Marine | D360 | Fridge | Fisher | 13-986-152 | 209N0070 |  | 5.0 amps |  |  | Flam
| Earth&Marine | D366 | Fd. Fridge | [6 empty] | 1/2 size
| Earth&Marine | D450 | -20 | Fridgidaire | FFUØ9KØFWØ | WB71121449 |  | 5 AMPS |  | Upright
| Earth&Marine | D450 | Combo | Kenmore | [5 empty] | 1/2 size
| Earth&Marine | D450 | -20 | Kenmore | 253.234141ØØ | WB30827793 |  | 5 AMPS |  | upright | can't access plate
| Earth&Marine | D450 | -20 | Imperial | UL5ØØØECWØ | WB527ØØ822 |  | 5 AMPS |  | upright
| Earth&Marine | D446 | 1/2 Fd Fridge | Sanyo
| Earth&Marine | D446 | glass cab | Power Sci. | LS72SD/CT | CØ51275 |  | 11 AMPS |  |  | 2 doors
| Earth&Marine | D446 | -20 | Kenmore | 253.2911199Ø | WB91126551 |  | 5 AMPS |  | Upright
| Earth&Marine | D446 | -20 | Fisher | F2ØØ5GA14 | W22A-498761-WK |  | 1 AMP |  | 1/2 size
| Earth&Marine | D442 | 1/2 Fd Fridge
| Earth&Marine | D442 | Combo | Kenmore | 253.637123Ø2 | BA38827672 |  | 4.5 AMPS |  | upright
| Earth&Marine | D442 | -20 | Kirkland | SC7Ø71ØHWØ5 | F5 EWKØ419111 |  | 3 AMPS |  | chest
| Earth&Marine | D435 | Combo | Kenmore | 1Ø6869821Ø | E6265145 |  | 6.5 AMPS |  | upright | not in service
| Earth&Marine | D429 | Combo | Kenmore | 253692289Ø | BA93Ø1Ø63Ø |  | 4.75 AMPS |  | upright
| Earth&Marine | D429 | -20 | Kenmore | 253.24Ø421Ø1 | WB44522279 |  | 5 AMPS |  | upright
| Earth&Marine | C230 | Combo | kenmore | 363.9654 | D6147438Ø |  | 6.5 AMPS |  | upright
| Earth&Marine | C230 | Combo | Coldspot | 6653ØØØ | 5J269573 |  | 4 AMPS |  | upright
| Earth&Marine | C230 | Fd. Fridge | Sanyo | [5 empty] | 1/2 size
| Earth&Marine | D237 | Side by Side | Hotpoint | CSX2ØLFB | HR2Ø254Ø |  | 7.9 AMPS |  | upright
| Earth&Marine | D202 | -20 | Fisher Isotemp | 13-986-148 | 2Ø17Ø8Ø399Ø3 |  | 5 AMPS |  | upright
| Earth&Marine | D202 | Fridge | Fisher Isotemp | 13-988-326R-2 | 7Ø297786 |  | 10 AMPS |  | upright
| Earth&Marine | C570 | Combo | GE | TB21KBC | DA596676 |  | 8 AMPS |  | upright std
| Earth&Marine | C514 | combo | Magic Chef | R823KN-4A | AS37756993 |  | 7.2 AMPS |  | upright std
| Earth&Marine | C574 | combo fridge | Sanyo | SR-373ØW | 5Ø1Ø8682 |  | .9 AMPS |  | 1/2 size
| Earth&Marine | C558 | 1/2 Fd Fridge | Sanyo
| Earth&Marine | C453 | -20 | Maytag | MQU2Ø57AEWL1 | 11125467EE |  | 4 AMPS
| Earth&Marine | C458 | Fd. Fridge | Kenmore | [5 empty] | 1/2 size
| Earth&Marine | C470 | Fd. fridge | Coolerator | [5 empty] | 1/2 size
| Earth&Marine | C480 | Combo | Whirlpool | EVL13CWR1 | S13773933 |  | 4 AMPS |  | upright
| Earth&Marine | C474 | -80 | Revco | ULT1786-9A4Ø | P3Ø5-239450-RS |  | 16AMPS/115 VOLTS |  | upright
| Earth&Marine | C483 | Combo | Kenmore | 253.6581 | BA74Ø3523Ø |  | 4.5 AMPS |  | upright st.
| Earth&Marine | C487 | -80 | Thermo Revco | ULT2186-9-D4Ø | RO35-239559-RS |  | 208VOLT/10 AMPS |  | upright
| Earth&Marine | C406 | -20 | Whirlpool | EAV2ØFWØ | E51401Ø71 |  | 5.5 AMPS |  | upright
| Earth&Marine | C406 | Fridge | Kenmore | 253.6Ø722ØØØ | WA646ØØ7Ø4 |  | 5 AMPS |  | upright
| Earth&Marine | C406 | -20 | Westinghouse | MFU21M3BW1 | WB4271Ø24O |  | 5 AMPS |  | upright
| Earth&Marine | D405 | -20 | GE | FP21M3BW1 | FL1662Ø7 |  | 5 AMPS |  | upright
| Earth&Marine | D405 | -20 | Kenmore | 1Ø6.82512Ø | S54924552 |  | 3.6 AMPS |  | upright
| Earth&Marine | D405 | -80 | Forma | 917 | 87819-985 |  | 230 VOLTS/12 AMPS |  | upright
| Earth&Marine | D405 | Combo | Fisher | 97-935-1 | 3Ø3-ØØ2 |  | .9 AMPS |  | 1/2 size
| Earth&Marine | D480 | Fd. Fridge | [6 empty] | 1/2 size
| Earth&Marine | D450 | Combo | Whirlpool | [6 empty] | Dead/Smelly!
| Earth&Marine | D450 | Combo | Kenmore | 564.62912ØØ | O7O3O3688 |  | 1.5 AMPS | 9.5 Cubic ft. |  | Plate in back
| Earth&Marine | D405 | VLT. LOW | forma | 917 | 87819-985 |  | 12 AMPS 208 volt |  | upright
| Earth&Marine | D405 | 1/2 size combo | fisher | 97-935-4 | 0303-002 |  | .9 amps 120 volt |  | upright | Flam
| Earth&Marine | D405 | -20 | sears | 106.8252 | S54924552 |  | 3.6 amp |  | upright
| Earth&Marine | D405 | -20 | GE | FP21DSCRW1T | FL166207 |  | 5 amp |  | upright
| Earth&Marine | D406 | VLT. LOW | Revco | ULT3286-3-A31 | R25K-4A1920-RK |  | 16amp/120 |  | upright
| Earth&Marine | D406 | VLT. LOW | Revco | ULT3286-9SI-D39 | S17R32Ø7Ø2-SR |  | 12 amp/208 volt |  | upright
| Earth&Marine | D406 | combo | Kenmore | 106.966 | EF2829688 |  | 6.5 amp/120 |  | upright
| Earth&Marine | D406 | combo | Whirlpool | EXT14DTWL1 | S2Ø9Ø7Ø89 |  | 4 amp/120 |  | upright | Flam
| Earth&Marine | D410 | 1/2 size freezer | Fisher | F2ØØ5GABA | X2AD-18826-YD |  | 1.4 amp/120 |  | upright
| Earth&Marine | D410 | combo | Kenmore | 363.9642 | L42340695 |  | 7 amps |  | upright
| Earth&Marine | D410 | -20 | Fisher | CAT 13-986-149 | 404N0034 |  | 5 amps/120 |  | upright | Flam
| Earth&Marine | D426 | 1/2 size fridge | Sanyo | [6 empty] | Can't get to plate
| Earth&Marine | D426 | -20 | Kenmore | 253.2672 | WB70937292 |  | 5 amp/120 |  | upright
| Earth&Marine | D426 | -20 | Kenmore | 253.165 | WB73728536 |  | 5 amp/120 |  | chest
| Earth&Marine | D429 | -20 | Avanti | CF61 | A3J2073138B60038#34HL073010-13945 |  | 1.47 amp |  | 3/4 chest
| Earth&Marine | D429 | -20 | Avanti | CF142 | A0Y2072148B570488 34HL072003-10520 |  | 1.50 amp |  | 1/2 chest
| Earth&Marine | D429 | -20 | Kenmore | 253.2404 | WB44522279 |  | 5amps |  | upright
| Earth&Marine | D429 | Combo | Kenmore | 25369822890 | BA93010630 |  | 4.7 amps |  | upright
| Earth&Marine | D429A | 1/2 size | Goldstar | [6 empty] | Radio active -not opening
| Earth&Marine | D430 | side/side | Kenmore | 106.4151 | SM3430267 |  | 6.5 amps |  | rupright
| Earth&Marine | D430 | -20 | Fisher Isotemp |  | 0.86982 |  |  |  | upright | Cant' find plate
| Earth&Marine | D435 | Combo | Sears | 106.8698 | E92625145 |  | 6.5 amps |  | upright
| Earth&Marine | D436 | -20 | Frigedair | FFU12K0DW0 | WB42420512 |  | 5 amps |  | upright
| Earth&Marine | D436 | Fd. Fridge | kenmore | [5 empty] | 1/2 size
| Earth&Marine | D442 | 1/2 size | Fd. Fridge
| Earth&Marine | D442 | Combo | Sears | 253.6371 | BA33827672 |  | 4.5 amps |  | upright
| Earth&Marine | D442 | Freezer | Whirlpool | [5 empty] | chest | Can't get to plate
| Earth&Marine | D446 | 1/2 size Fd | Sanyo
| Earth&Marine | D446 | Glass cab | Powers Scient | LS83SD/CT | C051275 |  | 11.4 amps
| Earth&Marine | D446 | -20 | Fisher | F2005GA14 | W22K-498761-WK |  | 1 amp |  | 1/2 size
| Earth&Marine | D446 | -20 | Kenmore | 253.2911 | WB91126551 |  | 5 amps |  | upright
| Earth&Marine | D450 | 2 3/4 size Fd. Fridges | Fd. Fridges
| Earth&Marine | D450 | 1/2 size -20 | Kenmore | [6 empty] | No plate
| Earth&Marine | D450 | -20 | Frid. Air | FFU09K0FW0 | WB71121449 |  | 5 amps |  | upright
| Earth&Marine | D450 | Combo | Kenmore
| Earth&Marine | D450 | -20 | IMperial | UL500ECW0 | WBJ2700822 |  | 5 amps |  | upright
| Earth&Marine | D450 | -20 | Kenmore | 253.2341 | WB30827793 |  | 5 amps |  | upright
| Earth&Marine | D302 | Combo | Fisher | CAT 97-935-1 | 1000-011 |  | .9 amps |  | 1/2 size | Flam
| Earth&Marine | D302 | Combo | Frigedair | MRT18BSCW4 | BA81318330 |  | 4.75 amps |  | upright
| Earth&Marine | D306 | Fd. Fridge | Sanyo | [5 empty] | 1/2 size
| Earth&Marine | D312 | Combo | Kenmore | 25361842102 | BA12504776 |  | 4.5 amps |  | upright
| PSB | 459 | -20 | Kenmore | 253.6Ø722ØØØ | WA713ØØ835 |  | 5 amps |  | upright
| PSB | 459 | -20 | Kenmore | 253.9287 | WB918Ø8341 |  | 5 amps |  | upright | EEV99421
| PSB | 459 | Combo | Kenmore | 253368Ø1893 | BAØ4127253 |  | 5.75 amps |  | upright | STD
| PSB | 459 | Fd. Fridge | Kenmore | [5 empty] | 1/2 size | COMBO STD
| PSB | 453 | Fd. Fridge | Kenmore | [5 empty] | 1/2 size
| PSB | 453 | -20 | Kenmore | 253.24Ø421Ø1 | WB4384Ø569 |  | 5 amps |  | upright
| PSB | 453 | -20 | Kenmore | 253.21Ø411ØØ | WB12615824 |  | 5 amps |  | upright
| PSB | 453 | -20 | Kenmore | 253.6Ø721ØØ8 | WA21ØØØ3ØØ |  | 5 amps |  | upright
| PSB | 453 | -20 | Kenmore | 564245Ø24ØØ | 4Ø8Ø8172 |  | 1.3 amps |  | 1/2 upright
| PSB | 443 | -20 | Kenmore | 253.6Ø721ØØ8 | WA35ØØØ432 |  | 10 amps |  | upright | NOT IN USE
| PSB | 439 | VLT. LOW | Revco | ULT2186-5D35 | P14M-573441-PM |  |  |  | upright | 208 VOLT
| PSB | 486 | VLT. LOW | Sanyo | [5 empty] | upright | V5RM278CH10
| PSB | 486 | -20 | Kenmore | 253.24Ø821Ø1 | WB526189Ø2 |  | 5 amps |  | upright
| PSB | 486 | VLT. LOW | Forma | 923 | 8956Ø-16Ø6 |  | 12 amps/230 volt |  | upright
| PSB | 486 | VLT. LOW | Thermo | 995 | 8Ø21Ø4 |  | 12 amps/230 volt |  | upright
| PSB | 486 | VLT. LOW | Forma | 8523 | 2Ø525-19Ø4 |  | 12 amps/230 volt |  | upright
| PSB | 486 | -20 | Kenmore | 253.926Ø410Ø | S6Ø3Ø99962 |  | 5amps |  | upright
| PSB | 490 | Fd. Fridge | GE | [6 empty] | 1/2 size
| PSB | 490 | Fd. Fridge | [7 empty] | 1/r size
| PSB | 490 | -20 | Kenmore | 253.928Ø412 | WB832166Ø1 |  | 5 amps |  | upright
| PSB | 490 | Combo | Whirlpool | ET1FTKXKQØ6 | ETØ7Ø76Ø4 |  | 6.5 amps |  | upright std | Flamables
| PSB | 498 | Fd. Fridge | Kenmore | [5 empty] | 1/2 size | Flam.
| PSB | 498 | COMBO | Isotemp | 1386-426D | 1526Ø6Ø787393 |  | 2 amps/110 volt |  | upright
| PSB | 498 | -20 | Fisher | 97-925-1 | 1424061225143 |  | 1.1 amps |  | upright 1/2 | No model #
| PSB | 495 | Fd. Fridge | [6 empty] | 1/2 size
| PSB | 495 | GLS FRONT | Isotemp | Date code: Ø4Ø9Ø8 | 4Ø9NØØ59 |  | 10.5 amps
| PSB | 495 | COLD CAB -20 | Isotemp | FFU2124DW1 | WB43557222 |  | 5 amps |  | upright | Std.
| PSB | 479 | -20 | Kenmore | 253.26Ø821Ø1 | WB7284975 |  | 5 amps |  | upright
| PSB | 479 | COMBO | Kenmore | 253.692627Ø1 | 4A717Ø726Ø |  | 4.5 amps |  | upright
| PSB | 479 | GLS CAB | Cold teck jimex corp | J3GR-695 | SA69-Ø71Ø-118 |  | 13 amps/115 volt | 69 cubic ft.
| PSB | 365 | GLS CAB | Turbo Aiv | TGM-69R | GR69109062 |  | 12 amps |  | upright
| PSB | 365 | COMBO | Sanyo | SR-37708 | 30759856 |  | .9 amps |  | 1/2 size
| PSB | 365 | -20 | Thermo Revco | REF.2117A14 | U245-621216-US |  | 5 amps |  | upright
| PSB | 365 | -20 | Fridgeaire | FFU-20FKOEW4 | WB60431757 |  | 5 amps |  | upright
| PSB | 359A | COMBO | White Westinghouse | MRT13CREW4 | BA823ØØ666 |  | 3.75 amps |  | upright | st. -fd.
| PSB | 359A | COMBO | Sears | 1Ø6.66866ØØ | 8E479Ø63 |  | 6.8 amps |  | upright | st. -fd.
| PSB | 353 | FLAM -20 | Fisher Isotemp | 425F | 61084675 |  | 3.0/14.5 locked roter
| PSB | 343 | VLT. LOW | Revco | ULT775 B-M-N | P52844 |  | 5.8/208 volt |  | chest
| PSB | 339A | -20 | Thermo/Revco | REF2117A14 | F21HRAØØØØA |  | 5 amps/115 volt |  | upright
| PSB | 339A | VLT. LOW | Thermo/Revco | ULT254Ø-9-A4Ø | N25T-247231-OT |  | 11 amps/115 volt |  | upright
| PSB | 386 | COMBO | Puffer Hubbard | XLR46AØA | SX67455E |  | 1.8 amps |  | 1/2 size | Flam
| PSB | 390 | COMBO | FISHER | TDX15SNSBRWH | GH776925 |  | 3.2 AMPS/115 VOLT |  | UPRIGHT
| PSB | 390 | VLT. LOW | Puffer Hubbard | IUR4Ø13A-Ø-C | SX65697E |  | 6.3 AMPS/115 VOLT |  | UPRIGHT
| PSB | 398 | COMBO | Fisher Isotemp | 13-986-425D | 206N0034 |  | 3.3 AMPS |  | UPRIGHT
| PSB | 398 | COMBO | Fisher Isotemp | 525D | 505N0030 |  |  |  | UPRIGHT
| PSB | 398A | Fd. Fridge | GE | [5 empty] | 1/2 SIZE
| PSB | 395 | COMBO | Fisher Isotemp | 13-986-425D | 103N0032 |  | 3.2 |  | UPRIGHT
| PSB | 395A | Fd. Fridge | Sanyo | [5 empty] | 1/2 SIZE
| PSB | 387 | -20 | Isotemp | 13-986-428F | 1522Ø7Ø765238 |  | 6.8 AMPS/115 VOLT |  | UPRIGHT
| PSB | 387 | refrigerator (4˚) | Isotemp | 13-986-428R | 1522Ø7Ø873319 |  | 6.8 AMPS/115 VOLT |  | UPRIGHT
| PSB | 379 | COMBO | Fisher Isotemp | 134986426D | 506N0049 |  | 2 |  | UPRIGHT
| PSB | 379B | COMBO | GE | [5 empty] | UPRIGHT
| PSB | 365C | Fd. Fridge | Kenmore | [5 empty] | UPRIGHT
| PSB | 265 | -20 | Capri 5 | [5 empty] | 1/2 SIZE
| PSB | 265 | 29 | Kenmore | 253.9234 | 54123425Ø4 |  | 6 AMPS |  | UPRIGHT
| PSB | 265 | COMBO | Labe line | 3551-1000 | 147WW |  | 4 AMPS |  | UPRIGHT STD.
| PSB | 253 | Fd. Fridge | [6 empty] | 1/2
| PSB | 253 | COMBO | Labline | 3551-10 | 0600-001 |  | 2.1 AMPS |  | UPRIGHT STD.
| PSB | 243 | COMBO | Istoemp | 13-986-111 | 309N0196 |  | 1.5 AMPS |  | UPRIGHT STD.
| PSB | 243 | COMBO | Fisher | TDX115NYAWH | HV072980 |  | 2.1 AMPS |  | UPRIGHT STD.
| PSB | 243 | -20 | Kenmore | 564.9215 | 920303044 |  | 1.4 AMPS |  | 1/2
| PSB | 243 | Fd. Fridge | kenmore | [5 empty] | 1/2 SIZE
| PSB | 279 | ISOTEMP | -20 | [5 empty] | UPRIGHT
| PSB | 279 | -20 | ? | 817ØØØ13Ø |  |  |  |  | UPRIGHT
| PSB | 279 | -20 | Kenmore | 1Ø6.8282311 | S812631 |  | 3.5 AMPS |  | UPRIGHT
| PSB | 159 | VLT. LOW | Kelvinator | 832ØØØØ28 |  |  |  |  | UPRIGHT
| PSB | 153 | REFRIG. | [6 empty] | 1/2 SIZE
| PSB | 147 | COMBO | KENMORE | 1Ø6.869831Ø | E91342556 |  | 6.5 AMPS |  | UPRIGHT ST.
| PSB | 186 | VLT. LOW | REVCO | ULT2186-5-A34 | U12L-538325-UL |  | 16 AMP |  | UPRIGHT
| PSB | 190A | Fd. Fridge | HAIER | TDX115NYAWH |  |  |  |  | 1/2 SIZE
| PSB | 190 | COMBO | FISHER | 13.986-111 | LS071001 |  | 2.1
| PSB | 195 | COMBO | KENMORE | 253.314321Ø1 | BA2282127 |  | 4.5 AMPS
| PSB | 195 | -80 | VWR | 5471 | 81125-13 |  | 12 AMP/230 VOLT |  | CHEST
| PSB | 195 | FD. FRIDGE | GE | [5 empty] | 1/2 SIZE
| PSB | 179A | COMBO | Kenmore | 1Ø6.649324Ø1 | ES4931572 |  | 6.5 AMPS
| PSB | 286D | COMBO | Kenmore | 1Ø6.869821Ø | e92625517 |  | 6.5 AMPS |  | UPRIGHT
| PSB | 290 | COMBO | GE | [5 empty] | UPRIGHT ST.
| PSB | 298B | Fd. Fridge | SANYO | [5 empty] | 1/4 SIZE
| PSB | 295 | REFRIDG. | ISTEMP FISHER | 13-986-15B | 1524Ø6Ø9Ø1957 |  | 5 AMPS |  | UPRIGHT ST.
| PSB | 298 | Glass cab | VWR/TRUE | GDM-49 | 1-2581574 |  | 10.6 AMPS |  | UPRIGHT
| PSB | 298 | -20 | KENMORE | 253.9266 | wb73Ø18357 |  | 5 AMPS |  | UPRIGHT
| PSB | 298 | -20 | REVCO | U2Ø2ØGA14 | wØ9g-3511Ø2-wg |  | 5 AMPS |  | UPRIGHT
| PSB | 298 | VLT. LOW | REVCO | ULT2586-3D35 | v16l-543329-VL |  | 12 AMPS/ 208 VOLT |  | UPRIGHT
| PSB | 295 | -20 | GE | FP215SDRWH | HM161Ø56 |  | 5 AMPS |  | UPRIGHT
| PSB | 295 | -20 | Puffer Hubbard | IUF18Ø5A14 | Y18G-359322-YG |  | 1 AMP |  | 1/2 SIZE
| PSB | 295 | -20 | VWR/REVCO | U2ØØ5GA14 | R36L-527344-RL |  | 1 AMP |  | 1/2 SIZE
| PSB | 295 | GLASS CAB | REVCO | VCR445A2Ø | T27M-588563-UM |  | 19 AMPS
| PSB | 287 | Fd. Fridge | GE | [5 empty] | 1/2 SIZE
| PSB | 287 | -80 | THERMO ISOTEMP | C9Ø-14A32 | N27R-228221-OR |  | 16 AMPS/110 VOLT |  | CHEST
| PSB | 287 | -20 | KENMORE | 253.92Ø3282 | S2Ø7223775 |  | 5 AMPS |  | UPRIGHT
| PSB | 287 | -20 | KENMORE | 198.7291 | P92044531 |  | 3 AMPS |  | UPRIGHT
| PSB | 287 | VLT. LOW | FORMA | 7Ø7 | 67580-66 |  | 14 AMPS/ 120 VOLT
| PSB | 287 | COMBO | Whirlpool | EAT14DTYRØ | 6758Ø-66544Ø17844 |  | 4 AMPS |  | CHEST
| PSB | 279 | Glass cab | Kelvinator | 481-7Ø-ØØ128 |  |  |  |  | UPRIGHT ST.
| PSB | 279 | Glass cab | Kelvinator | 8Ø-7ØØØ176
| Thinmann | 484 | 1/2 SIZE COMBO | BOSS | 564.894152Ø | 4Ø6213Ø9 |  | 1.1 AMPS |  |  | PHARMACY
| Thinmann | 468 | -20 | FISHER ISTOEMP | 13-987-326F | 91961292 |  | 9.5 AMPS |  | UPRIGHT
| Thinmann | 376 | COMBO | KENMORE | 1Ø6.86ØJ61Ø | sØ29154Ø3 |  | 65 AMPS |  | SIDE BY SIDE
| Thinmann | 376 | -20 | KENMORE | 253.274227ØØ | wb72836263 |  | 5 AMPS |  | UPRIGHT
| Thinmann | 376 | FRIDGE | Sanyo | SR-4912M | 7Ø721434 |  | .9 AMPS |  | 1/2 SIZE
| Thinmann | 306 | VLT. LOW | REVCO | ULT659 | 15239 |  | 20 AMPS |  | CHEST
| Thinmann | 285 | COMBO | Whirlpool | EAL12CTWRO | s42686497 |  | 4 AMPS |  | UPRIGHT | NOT IN USE
| Thinmann | 285 | -20 | KENMORE | 253.1311ØØ | wb3Ø819521 |  | 5 AMPS |  | CHEST | NOT IN USE
| Thinmann | 285 | COMBO | REVCO | R414FA14 | x26l-553485-yl |  | 2.1 AMPS |  | UPRIGHT | NOT IN USE
| Thinmann | 285A | VLT. LOW | REVCO | ULT149Ø-3-A31 | R17N-63Ø625-SN |  | 16 AMPS |  | CHEST
| Thinmann | 289 | DELI CASE | Kelvinator | UC4BRG-CH | 6Ø5276 |  | 12 AMPS |  |  | 2 DOORS
| Thinmann | 289 | 1/2 SIZE COMBO | MARVEL | 6CAF | 71494Ø14 |  | 3.3 AMPS |  | UPRIGHT
| Thinmann | 289 | 1/2 SIZE COMBO | MARVEL | 61AF | 32492Ø27 |  | 3.3 AMPS |  | UPRIGHT
| Thinmann | 203 | COMBO | SEARS/COLD SPOT | 1Ø6.6653ØØØ | SJ269753 |  | 4 AMPS |  | UPRIGHT ST | FLAM
| Thinmann | 207 | DELI | FISHER ISTOEMP | 13-987-326G | 93164993 |  | 7 AMPS |  |  | 1 DOOR
| Thinmann | 215A | DELI | KELVINATOR | UC48RG-CH | 353253 |  | 12 AMPS |  |  | 2 DOORS
| Thinmann | 215A | COMBO | MARVEL | 61AF | T-Ø3Ø79ØØ24 |  | 2 AMPS |  | 1/2 SIZE
| Thinmann | 215 | VLT. LOW | SO-LOW | PR12Ø-5 | 9Ø917Ø1 |  |  |  | CHEST | CHECK W/ MICHAEL ABOUT AMPS
| Thinmann | 223 | COMBO | KENMORE | 25393Ø728Ø | BAØ39Ø584Ø |  | 4.75 AMPS |  | STD UPRIGHT
| Thinmann | 222 | FD. FRIDGE | EXCELLENCE | [5 empty] | 1/2 SIZE
| Thinmann | 230 | DELI | FISHER ISOTEMP | 13-986-233G | 89ØØ91 |  | 10.5 AMPS |  |  | 2 DOORS
| Thinmann | 230 | -20 | FISHER | 13-987-326F | 93465667 |  | 9.5 AMPS |  | UPRIGHT
| Thinmann | 229 | COMBO | KENMORE | 25393Ø728Ø | BAØ15Ø429Ø |  | 4.75 A,[S |  | UPRIGHT
| Thinmann | 239 | COMBO | KENMORE | 253Ø93Ø728Ø | BAØ23Ø2377 |  | 4.75 AMPS |  | UPRIGHT
| Thinmann | 249A | DELI | Fisher Isotemp | 1C78Ø5GA12 | PØ5F-2937Ø8-PF |  | 20 AMPS |  |  | 3 DOORS
| Thinmann | 257 | DELI | Fisher Isotemp | 13-986-138 | 1542Ø7Ø355ØØ5 |  | 14.5 AMPS |  |  | 2 DOORS
| Thinmann | 281 | COMBO | FISHER | TDX15SN5BRWH | SH756151 |  | 3.2 AMPS |  | UPRIGHT | FLAM
| Thinmann | 118 | COMBO | FISHER | TDX15SNSBRWH | SH7561Ø6 |  | 3.2 AMPS |  |  | FLAM
| Thinmann | STOCK ROOM | -20 | Kelvinator | UC25CW-PMS | 32913Ø |  | 6 AMPS |  | UPRIGHT | FLAM
| Thinmann | STOCK ROOM | -20 | Kelvinator | UC5Ø3FMS | 332Ø17 |  | 6.6 AMPS | DOUBLE REACH IN | UPRIGHT | FLAM
| Thinmann | STOCK ROOM | FD. FRIDGE | [6 empty] | 1/2 SIZE
| NS2 | 267 | FRIDGE | ISTOEMP | FFU2124DW1 | WB5Ø332994 |  | 5 AMPS |  | UPRIGHT | FLAM
| NS2 | 162 | Fd. Fridge | KENMORE | [5 empty] | 1/2 SIZE
| NS2 | 424 | FRIDGE | GE | FF2ØD5DRWH | ML164264 |  | 5 AMPS |  | UPRIGHT
| NS2 | 424 | -20 | PHILCO | MFU21M3BW4 | WB6Ø815791 |  | 5 AMPS
| NS2 | 424 | COMBO | AMANA | TM17TBW | 96Ø527Ø597 |  | 7.17 AMPS |  | UPRIGHT STD
| NS2 | 420 | COMBO | Kenmore | 1Ø6.867261Ø | S64442216 |  | 6.5 AMPS |  | UPRIGHT STD
| NS2 | 420 | -20 | GE | [5 empty] | UPRIGHT | INVENTORY # 943010127 * LOCKED
| NS2 | 420 | COMBO | Kenmore | 1Ø6.865631Ø | S5Ø24Ø737 |  | 6.5 AMPS |  | UPRIGHT STD | FD
| NS2 | 490 | Fd. Fridge | Sanyo | [5 empty] | 1/2 SUZE
| NS2 | 486 | COMBO | Fisher Isotemp | 13-988-425Ø | 63292223 |  | 12 AMPS |  | UPRIGHT | FLAM
| NS2 | 486 | COMBO | GE | TFF245C6 | 219434 |  | 7.9 |  | UPRIGHT SBS